Enabling Solar PV Integration into Competitive Energy Markets through Next-Day Forecasting

Objective of the Analysis

Complete the comparative evaluation of three forecasting models using real production and weather data to determine the most accurate next-day solar PV generation prediction approach.

Data

- PV inverter production data: January 2024 – March 2025

- Weather data: NASA POWER (irradiance, temperature, wind speed, humidity)

- Single synchronized master dataset

- Same dataset used for all models

Models to Implement

- SARIMAX

- XGBoost

- Prophet

The three standalone models shall first be evaluated using the same test dataset and performance metrics. The two best-performing standalone models shall then be selected for hybridization.

Two hybrid configurations shall be developed by reversing the primary and residual/correction roles of the selected models. For example, if XGBoost and Prophet are the two best standalone models:
4. XGBoost–Prophet Hybrid
5. Prophet–XGBoost Hybrid

Training & Testing Structure

- Train models using historical data (Jan 2024 – Feb 2025)

- Test on one unseen week in March 2025

- Use rolling next-day forecasting approach

- No data leakage

Evaluation Metrics (Same for all models)

- MAE

- RMSE

- sMAPE (or daytime MAPE)

- R² (optional)

All metrics computed on the same test week.

Required Outputs

- Model performance comparison table

- Actual vs Predicted plots (test week)

- Error comparison chart

Final Goal:

Rank the five forecasting approaches according to their next-day prediction performance and identify the best-performing model. The first-ranked model shall be carried forward to Objective 2 for quantification of forecast uncertainty.