OBJECTIVE 3 — Determination of Market Energy Commitment

Objective:
To determine market commitment quantities from next-day solar PV forecasts while accounting for forecast uncertainty and imbalance costs.

1. Input from Objectives 1 and 2

Use the best-performing forecasting model identified under Objective 1 and select the forecast for a single one-hour delivery interval: 12:00–13:00.

Let:

E12=forecast PV energy for 12:00–13:00 (kWh)

The forecast must be an actual output of the selected model, not an assumed/hypothetical value.

From Objective 2, obtain the empirical forecast-error distribution for the corresponding interval:

et=Et-Et

including the relevant residual quantiles.

2. Determine the Market Commitment

Define the economic consequences of the commitment decision as:

Cu=cost of under-commitment
Co=cost of over-commitment

where under-commitment represents potential income forgone from available energy that was not committed, while over-commitment represents shortfall/imbalance exposure when committed energy exceeds available generation. This is consistent with the Newsvendor interpretation already established in the dissertation.

Calculate the Newsvendor critical fractile:

q*=CuCu+Co

Use this critical fractile to select the corresponding quantile from the forecast distribution:

B12*=F12-1q*

where:

B12*=committed energy for 12:00–13:00 (kWh)

The commitment should therefore be determined from the forecast + quantified uncertainty + market costs, rather than by applying an arbitrary fixed percentage to the forecast.

3. Evaluate the Commitment

After determining B12*, compare it with the actual measured Strathmore energy generation for the same 12:00–13:00 interval:

E12actual

Calculate:

Shortfall=max⁡B12*-E12actual0
Surplus=max⁡E12actual-B12*0

The actual generation is used only for ex-post evaluation and must not be used to determine the commitment.

4. Sensitivity to Imbalance Costs

Repeat the commitment calculation for three market-cost scenarios:

| Scenario | Cu | Co | Critical Fractile | Committed Energy (kWh) | Commitment/Forecast (%) |
| --- | --- | --- | --- | --- | --- |
| Low imbalance-cost | Assumption | Assumption | Calculate | Calculate | Calculate |
| Base case | Assumption | Assumption | Calculate | Calculate | Calculate |
| High imbalance-cost | Assumption | Assumption | Calculate | Calculate | Calculate |

The exact Cuand Coassumptions should be explicitly documented and justified. Since the dissertation uses assumed market prices and imbalance parameters rather than historical market settlement data, the resulting commitments should be described as scenario-based.

5. Required Final Result

Prepare one consolidated results table:

| Parameter | Low-Cost Scenario | Base Scenario | High-Cost Scenario |
| --- | --- | --- | --- |
| 12:00–13:00 forecast energy (kWh) | X | X | X |
| Forecast uncertainty / relevant quantile | X | X | X |
| Critical Fractile | X | X | X |
| Committed energy (kWh) | X | X | X |
| Commitment as % of forecast | X% | X% | X% |
| Actual Strathmore energy (kWh) | X | X | X |
| Shortfall energy (kWh) | X | X | X |
| Surplus energy (kWh) | X | X | X |
| Imbalance cost (KSh) | X | X | X |
| Net economic outcome (KSh) | X | X | X |

Expected conclusion: The analysis should quantitatively demonstrate how the market energy commitment for the same 12:00–13:00 forecast changes as forecast uncertainty and the relative economic consequences of over- and under-commitment change.